## APPLICANT COSTS NUMBERS 2034
Unofficial English translation
Cells to be filled in by the applicant |  | 2034 |  |  |  | Assumptions to be used:
CAPEX Power plant |  | P10 | P50 | P90 | Description | Real figures, in 2025 NOK without inflation.
Turbine - Wind Turbine | NOK | 0 | 0 | 0 | Cost related to the delivery of wind turbines from the supplier | All amounts must be stated in Norwegian kroner (NOK). If currency conversion is required, the mid-market exchange rates from Norges Bank on May 19, 2025, with four decimal places, shall be used.
Turbine - Transport and Storage | NOK | 0 | 0 | 0 | Cost related to transport and storage of turbines | Figures shall be calculated based on a floating wind farm with a 30-year lifespan.
Foundation - Material Costs | NOK | 0 | 0 | 0 | Material costs for the foundation (steel, concrete, secondary steel, etc.) | Figures shall be calculated based on a 500 MW floating wind farm located in the central area of Utsira Nord.
Foundation - Fabrication | NOK | 0 | 0 | 0 | Cost for fabrication of foundations
Foundation - Transport and Storage | NOK | 0 | 0 | 0 | Cost related to storage and transport of materials, finished foundations, etc.
Mooring System - Mooring Lines/Chains | NOK | 0 | 0 | 0 | Cost for delivery of mooring lines and/or chains
Mooring System - Anchors | NOK | 0 | 0 | 0 | Cost for delivery of anchors for the mooring system
Mooring System - Accessories | NOK | 0 | 0 | 0 | Cost for buoyancy and weight elements, as well as connections between chains/lines and foundations/anchors
Mooring System - Transport and Storage | NOK | 0 | 0 | 0 | Cost related to transport and storage of mooring system components
Inter-Array Cable System - Cables | NOK | 0 | 0 | 0 | Cost for delivery of inter-array cables
Inter-Array Cable System - Cable Accessories | NOK | 0 | 0 | 0 | Cost for terminations, connectors, cable protectors, buoyancy elements, cable joints, etc., related to inter-array cables
Inter-Array Cable System - Transport and Storage | NOK | 0 | 0 | 0 | Cost related to storage and transport of inter-array cables and accessories
Installation - Towing | NOK | 0 | 0 | 0 | Cost related to towing of turbines, i.e., vessel costs, marine operations, etc.
Installation - Turbine Connection | NOK | 0 | 0 | 0 | Cost related to connecting the turbine and foundation to the inter-array cable system (hook-up) and mooring system (hook-up)
Installation - Foundation and Turbine Integration | NOK | 0 | 0 | 0 | Cost for installing the wind turbine on the foundation at the quay
Installation - Anchors and Mooring Lines (Pre-lay) | NOK | 0 | 0 | 0 | Cost for deployment of anchors and mooring lines prior to connection of turbine and foundation
Installation - Inter-Array Cable System | NOK | 0 | 0 | 0 | Cost for laying inter-array cables (cable lay)
Commissioning | NOK | 0 | 0 | 0 | Cost related to testing, running-in, and start-up (commissioning)
Construction Port | NOK | 0 | 0 | 0 | Costs related to the use of a construction port, such as cranes, short-term storage, work buildings, quay rental, etc.
Project Development | NOK | 0 | 0 | 0 | Cost for activities up to the final investment decision (FID) and administration until commissioning (COD)
Construction Phase Insurance | NOK | 0 | 0 | 0 | Cost for insurance during the construction phase
Contingency | NOK | 0 | 0 | 0 | Free funds for unforeseen events
Total CAPEX Power plant | NOK | 0 | 0 | 0
CAPEX Grid Connection
Onshore Substation - Electrical Infrastructure | NOK | 0 | 0 | 0 | Cost for the electrical infrastructure in the onshore substation
Onshore Substation - Civil Works and Buildings | NOK | 0 | 0 | 0 | Cost for civil works and buildings for the onshore substation
Offshore Substation - Topside | NOK | 0 | 0 | 0 | If an offshore substation is considered, this is the estimate for the electrical infrastructure, including topside or enclosure for subsea
Offshore Substation - Foundation | NOK | 0 | 0 | 0 | If an offshore substation is considered, this is the estimate for the foundation (floating, fixed-bottom, or subsea)
Export Cable(s) - Cable | NOK | 0 | 0 | 0 | Cost for delivery of export cables
Export Cable(s) - Cable Accessories | NOK | 0 | 0 | 0 | Cost for terminations, connectors, cable protectors, buoyancy elements, cable joints, etc., related to export cables
Installation - Export Cables | NOK | 0 | 0 | 0 | Installation of export cables
Installation - Offshore Substation | NOK | 0 | 0 | 0 | Installation of offshore substation
Onshore Cable or Line | NOK | 0 | 0 | 0 | Cost for delivery of components and installation
Project Development | NOK | 0 | 0 | 0 | Cost for activities up to the final investment decision (FID) and administration until commissioning (COD)
Contingency | NOK | 0 | 0 | 0 | Free funds for unforeseen events
Total CAPEX Grid Connection | NOK | 0 | 0 | 0
OPEX Power Plant
Operating Costs | NOK/year | 0 | 0 | 0 | Cost for operating the facilities, such as monitoring, electricity sales, administration, etc.
Maintenance - Turbine | NOK/year | 0 | 0 | 0 | Cost for maintenance of wind turbines
Maintenance - Balance of Plant | NOK/year | 0 | 0 | 0 | Cost for maintenance of foundations, mooring systems, inter-array cable systems, and export systems
Major Repairs | NOK/year | 0 | 0 | 0 | Estimated cost for major repairs, such as replacement of turbine blades, generators, or similar
Vessels and Logistics | NOK/year | 0 | 0 | 0 | Costs for vessels used in operations and maintenance, such as transport of personnel to and from turbines, maintenance operations, etc.
Port | NOK/year | 0 | 0 | 0 | Costs related to the home port for operations and maintenance
Operational Phase Insurance | NOK/year | 0 | 0 | 0 | Costs for insurance during the operational phase
Total OPEX Power plant | NOK/year | 0 | 0 | 0
OPEX Grid Connection
Onshore Substation | NOK/year | 0 | 0 | 0 | Cost for operating the onshore substation
Onshore Cable or Line | NOK/year | 0 | 0 | 0 | Cost for operating cables or lines, activities such as monitoring, inspection, repair, insurance, etc.
Offshore Substation | NOK/year | 0 | 0 | 0 | Cost for operating the offshore substation
Offshore Cable(s) | NOK/year | 0 | 0 | 0 | Cost for operating cables, activities such as monitoring, inspection, repair, insurance, etc.
Total OPEX Grid Connection | NOK/year | 0 | 0 | 0
DECEX
Decommissioning Cost | NOK | 0 | 0 | 0 | Total decommissioning cost for the entire facility, including grid connection
Total DECEX | NOK | 0 | 0 | 0
Energy Production
Gross Energy Production | GWh/year | 0 | 0 | 0 | Energy production without losses such as wake losses, electrical losses, etc.
Net Energy Production | GWh/year | 0 | 0 | 0 | Energy production with losses such as wake losses, electrical losses, etc
Factors the Applicant Must Provide for the Relevant Substructure
Steel Weight | Tonnes | 0 | 0 | 0
Concrete Weight | Tonnes | 0 | 0 | 0
Steel Price | NOK/Tonne | 0 | 0 | 0
Concrete Price | NOK/Tonne | 0 | 0 | 0

## APPLICANT COSTS NUMBER 2040
Unofficial English translation
Cells to be filled in by the applicant |  | 2040 |  |  | Assumptions to be used:
CAPEX Power plant |  |  | P50 | Description | Real figures, in 2025 NOK without inflation.
Turbine - Wind Turbine | NOK |  | 0 | Cost related to the delivery of wind turbines from the supplier | All amounts must be stated in Norwegian kroner (NOK). If currency conversion is required, the mid-market exchange rates from Norges Bank on May 19, 2025, with four decimal places, shall be used.
Turbine - Transport and Storage | NOK |  | 0 | Cost related to transport and storage of turbines | Figures shall be calculated based on a floating wind farm with a 30-year lifespan.
Foundation - Material Costs | NOK |  | 0 | Material costs for the foundation (steel, concrete, secondary steel, etc.) | Figures shall be calculated based on a 500 MW floating wind farm located in the central area of Utsira Nord.
Foundation - Fabrication | NOK |  | 0 | Cost for fabrication of foundations
Foundation - Transport and Storage | NOK |  | 0 | Cost related to storage and transport of materials, finished foundations, etc.
Mooring System - Mooring Lines/Chains | NOK |  | 0 | Cost for delivery of mooring lines and/or chains
Mooring System - Anchors | NOK |  | 0 | Cost for delivery of anchors for the mooring system
Mooring System - Accessories | NOK |  | 0 | Cost for buoyancy and weight elements, as well as connections between chains/lines and foundations/anchors
Mooring System - Transport and Storage | NOK |  | 0 | Cost related to transport and storage of mooring system components
Inter-Array Cable System - Cables | NOK |  | 0 | Cost for delivery of inter-array cables
Inter-Array Cable System - Cable Accessories | NOK |  | 0 | Cost for terminations, connectors, cable protectors, buoyancy elements, cable joints, etc., related to inter-array cables
Inter-Array Cable System - Transport and Storage | NOK |  | 0 | Cost related to storage and transport of inter-array cables and accessories
Installation - Towing | NOK |  | 0 | Cost related to towing of turbines, i.e., vessel costs, marine operations, etc.
Installation - Turbine Connection | NOK |  | 0 | Cost related to connecting the turbine and foundation to the inter-array cable system (hook-up) and mooring system (hook-up)
Installation - Foundation and Turbine Integration | NOK |  | 0 | Cost for installing the wind turbine on the foundation at the quay
Installation - Anchors and Mooring Lines (Pre-lay) | NOK |  | 0 | Cost for deployment of anchors and mooring lines prior to connection of turbine and foundation
Installation - Inter-Array Cable System | NOK |  | 0 | Cost for laying inter-array cables (cable lay)
Commissioning | NOK |  | 0 | Cost related to testing, running-in, and start-up (commissioning)
Construction Port | NOK |  | 0 | Costs related to the use of a construction port, such as cranes, short-term storage, work buildings, quay rental, etc.
Project Development | NOK |  | 0 | Cost for activities up to the final investment decision (FID) and administration until commissioning (COD)
Construction Phase Insurance | NOK |  | 0 | Cost for insurance during the construction phase
Contingency | NOK |  | 0 | Free funds for unforeseen events
Total CAPEX Power plant | NOK |  | 0
CAPEX Grid Connection
Onshore Substation - Electrical Infrastructure | NOK |  | 0 | Cost for the electrical infrastructure in the onshore substation
Onshore Substation - Civil Works and Buildings | NOK |  | 0 | Cost for civil works and buildings for the onshore substation
Offshore Substation - Topside | NOK |  | 0 | If an offshore substation is considered, this is the estimate for the electrical infrastructure, including topside or enclosure for subsea
Offshore Substation - Foundation | NOK |  | 0 | If an offshore substation is considered, this is the estimate for the foundation (floating, fixed-bottom, or subsea)
Export Cable(s) - Cable | NOK |  | 0 | Cost for delivery of export cables
Export Cable(s) - Cable Accessories | NOK |  | 0 | Cost for terminations, connectors, cable protectors, buoyancy elements, cable joints, etc., related to export cables
Installation - Export Cables | NOK |  | 0 | Installation of export cables
Installation - Offshore Substation | NOK |  | 0 | Installation of offshore substation
Onshore Cable or Line | NOK |  | 0 | Cost for delivery of components and installation
Project Development | NOK |  | 0 | Cost for activities up to the final investment decision (FID) and administration until commissioning (COD)
Contingency | NOK |  | 0 | Free funds for unforeseen events
Total CAPEX Grid Connection | NOK |  | 0
OPEX Power Plant
Operating Costs | NOK/year |  | 0 | Cost for operating the facilities, such as monitoring, electricity sales, administration, etc.
Maintenance - Turbine | NOK/year |  | 0 | Cost for maintenance of wind turbines
Maintenance - Balance of Plant | NOK/year |  | 0 | Cost for maintenance of foundations, mooring systems, inter-array cable systems, and export systems
Major Repairs | NOK/year |  | 0 | Estimated cost for major repairs, such as replacement of turbine blades, generators, or similar
Vessels and Logistics | NOK/year |  | 0 | Costs for vessels used in operations and maintenance, such as transport of personnel to and from turbines, maintenance operations, etc.
Port | NOK/year |  | 0 | Costs related to the home port for operations and maintenance
Operational Phase Insurance | NOK/year |  | 0 | Costs for insurance during the operational phase
Total OPEX Power plant | NOK/year |  | 0
OPEX Grid Connection
Onshore Substation | NOK/year |  | 0 | Cost for operating the onshore substation
Onshore Cable or Line | NOK/year |  | 0 | Cost for operating cables or lines, activities such as monitoring, inspection, repair, insurance, etc.
Offshore Substation | NOK/year |  | 0 | Cost for operating the offshore substation
Offshore Cable(s) | NOK/year |  | 0 | Cost for operating cables, activities such as monitoring, inspection, repair, insurance, etc.
Total OPEX Grid Connection | NOK/year |  | 0
DECEX
Decommissioning Cost | NOK |  | 0 | Total decommissioning cost for the entire facility, including grid connection
Total DECEX | NOK |  | 0
Energy Production
Gross Energy Production | GWh/year |  | 0 | Energy production without losses such as wake losses, electrical losses, etc.
Net Energy Production | GWh/year |  | 0 | Energy production with losses such as wake losses, electrical losses, etc
Factors the Applicant Must Provide for the Relevant Substructure
Steel Weight | Tonnes |  | 0
Concrete Weight | Tonnes |  | 0
Steel Price | NOK/Tonne |  | 0
Concrete Price | NOK/Tonne |  | 0